|  |  |
| --- | --- |
| **Lumens** | 1600 |
| **Colour Temp** | 6500K (daylight white) |
| **Power** | 20W |
| **Light Spread** | 120° |
| **Ingress Protection** | IP44 110V / IP20 240V |
| **Lamp Type** | LED Philips Tube |